## Sheet1
STATION CODE | LOCATIONS | STATE | TEMPERATURE ºC |  |  | pH |  |  | CONDUCTIVITY (µmhos/cm) |  |  | B.O.D. (mg/l) |  |  | NITRATE- N+ NITRITE-N (mg/l) |  |  | FECAL COLIFORM (MPN/100ml) |  |  | TOTAL COLIFORM (MPN/100ml)
|  |  | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Year
WATER QUALITY CRITERIA | [5 empty] | 6.5-8.5 | [5 empty] | < 3 mg/l | [5 empty] | < 2500 MPN/100ml |  |  | < 5000 MPN/100ml
1533 | *DIGBOI, TINSUKIA DISTT., ASSAM | Assam | 21 | 24 | 23 | 6.2 | 6.7 | 6.5 | 203 | 748 | 476 | 0.9 | 1.5 | 1.2 | 0.57 | 1 | 1 | [6 empty] | 2013
1534 | *KARBI ANGLONG DISTT., ASSAM | Assam | 24 | 24 | 24 | 5.8 | 5.8 | 5.8 | 347 | 347 | 347 | 1.7 | 1.7 | 1.7 | 0.63 | 1 | 1 | [6 empty] | 2013
1535 | *SIBSAGAR , ASSAM | Assam | 24 | 24 | 24 | 6.5 | 7.2 | 6.9 | 396 | 612 | 504 | 0.9 | 2.6 | 1.8 | 0.62 | 1 | 1 | [6 empty] | 2013
1536 | *SIBSAGAR, ASSAM | Assam | 24 | 30 | 27 | 6 | 6.7 | 6.4 | 118 | 262 | 190 | 2.1 | 3.9 | 3 | 0.53 | 1 | 1 | [6 empty] | 2013
1537 | *(JORHAT, ASSAM | Assam | 24 | 25 | 25 | 6.3 | 7 | 6.7 | 412 | 517 | 465 | 1.4 | 4.3 | 2.9 | 0.89 | 1 | 1 | [6 empty] | 2013
1538 | *SILCHAR, ASSAM | Assam | 18 | 19 | 18 | 6.2 | 7.2 | 6.7 | 106 | 520 | 313 | 1.2 | 3.6 | 2.4 | 2.2 | 0 | 2 | [6 empty] | 2013
1539 | *BARPETA, ASSAM | Assam | 26 | 27 | 27 | 6.8 | 7.4 | 7.1 | 591 | 1065 | 828 | 1.5 | 2.1 | 1.8 | 0.7 | 1 | 1 | [6 empty] | 2013
1540 | *BONAIGAON, ASSAM | Assam | 24 | 29 | 26 | 6 | 6.1 | 6.1 | 184 | 314 | 249 | 1.7 | 1.9 | 1.8 | 4 | 6 | 5.7 | [6 empty] | 2013
1541 | *GUWAHATI, ASSAM | Assam | 24 | 26 | 25 | 6.6 | 7.5 | 7.1 | 206 | 450 | 328 | 0.4 | 1.1 | 0.8 | 0.12 | 1 | 1 | [6 empty] | 2013
1542 | *GUWAHATI, ASSAM | Assam | 22 | 23 | 23 | 6 | 6.7 | 6.4 | 340 | 740 | 540 | 0.8 | 1.8 | 1.3 | 5.7 | 6 | 6 | 910 | 910 | 910 | 730 | 2100 | 1415 | 2013
2243 | GROUND WATER FROM LEDO, MARGHERITA | Assam | 21 | 22 | 22 | 5.3 | 6 | 5.7 | 417 | 506 | 462 | 0.6 | 0.6 | 0.6 | 1.3 | 1.3 | 1.3 | [6 empty] | 2013
2244 | GROUND WATER FROM NAZIRA | Assam | 22 | 25 | 24 | 6.3 | 7 | 6.7 | 288 | 418 | 353 | 2.9 | 3 | 3 | 3.4 | 3.4 | 3.4 | [6 empty] | 2013
2245 | GROUND WATER FROM NUMALIGARH (NEAR NRL TE LABOR COLONY) | Assam | 24 | 30 | 27 | 5.4 | 6.1 | 5.8 | 100 | 361 | 231 | 1.7 | 2.7 | 2.2 | 0.79 | 1 | 1 |  |  |  | 360 | 360 | 360 | 2013
2246 | GROUND WATER FROM SEMENCHAPARI | Assam | 21 | 23 | 22 | 6.2 | 6.6 | 6.4 | 162 | 270 | 216 | 1.6 | 1.9 | 1.8 | 0.63 | 1 | 1 | [6 empty] | 2013
2247 | GROUND WATER FROM SILAPATHAR | Assam | 20 | 23 | 22 | 6.6 | 6.8 | 6.7 | 274 | 752 | 513 | 0.4 | 1.8 | 1.1 | 0.5 | 1 | 1 | [6 empty] | 2013
2248 | GROUND WATER FROM LAKHIMPUR TOWN | Assam | 20 | 27 | 24 | 6.1 | 6.6 | 6.4 | 73 | 212 | 143 | 1.1 | 2.8 | 2 | 1.01 | 1 | 1 | [6 empty] | 2013
2249 | GROUND WATER FROM TEZPUR (MISSION CHARIALI) | Assam | 22 | 25 | 24 | 6.1 | 6.9 | 6.5 | 159 | 264 | 212 | 0.9 | 2.1 | 1.5 | 1.67 | 2 | 2 |  |  |  | 360 | 360 | 360 | 2013
2250 | GROUND WATER FROM NAGAON (PANIGAON) | Assam | 29 | 29 | 29 | 7.1 | 7.1 | 7.1 | 910 | 910 | 910 | 2.3 | 2.3 | 2.3 | 1.3 | 1.3 | 1.3 | [6 empty] | 2013
2251 | GROUND WATER FROM JAGIROAD NEAR HPC EFFLUENT DISCHARGE POINT | Assam | 28 | 30 | 29 | 6.8 | 7.2 | 7 | 309 | 331 | 320 | 0.9 | 0.9 | 0.9 | 0.42 | 0 | 0 | [6 empty] | 2013
2252 | GROUND WATER NEAR MSW DUMPING SITE AT GARCHUK-GUWAHATI | Assam | 24 | 25 | 25 | 6.6 | 6.7 | 6.7 | 257 | 260 | 259 | 1.6 | 5 | 3.3 | 0.53 | 0 | 1 | [6 empty] | 2013
2253 | GROUND WATER FROM NALBARI | Assam | 26 | 30 | 28 | 6.6 | 7 | 6.8 | 270 | 293 | 282 | 0.8 | 1.5 | 1.2 | 1.44 | 1.44 | 1.44 | [6 empty] | 2013
2254 | GROUND WATER FROM BARPETA ROAD(RLY STATION) | Assam | 25 | 28 | 26 | 7.3 | 7.5 | 7.4 | 649 | 1370 | 1010 | 0.9 | 1.8 | 1.4 | 2.57 | 3.05 | 3 | [6 empty] | 2013
2255 | GROUND WATER NEAR BPRL, DHALIGAON | Assam | 24 | 29 | 27 | 5.9 | 6.7 | 6.3 | 160 | 472 | 316 | 1.4 | 2.8 | 2.1 | 5 | 5 | 5 |  |  |  | 360 | 360 | 360 | 2013
2256 | GROUND WATER FROM KOKRAJHAR DISTRICT (HS SCHOOL ) | Assam | 27 | 29 | 28 | 5.8 | 6.1 | 6 | 110 | 166 | 138 | 1.2 | 3.9 | 2.6 | 0.43 | 0.43 | 0.43 | [6 empty] | 2013
2257 | GROUND WATER FROM DHUBRI DISTRICT (COLLEGE NAGAR ) | Assam | 28 | 28 | 28 | 6.4 | 7.5 | 7 | 434 | 702 | 568 | 1.9 | 2.5 | 2.2 | 0.9 | 1 | 1 | [6 empty] | 2013
2258 | GROUND WATER FROM GOALPARA DIST. (GOALPARA COLLEGE ) | Assam | 23 | 23 | 23 | 6.1 | 6.1 | 6.1 | 253 | 253 | 253 | 3.2 | 3.2 | 3.2 | 3.43 | 3.43 | 3.43 | [6 empty] | 2013
2259 | GROUND WATER FROM DIPHU (GOVT. COLLEGE) | Assam | 26 | 26 | 26 | 7 | 7 | 7 | 1307 | 1307 | 1307 | 2 | 2 | 2 | 0.87 | 1 | 1 | [6 empty] | 2013
2261 | GROUND WATER FROM HAFLONG | Assam | 17 | 18 | 18 | 7.1 | 7.1 | 7.1 | 92 | 196 | 144 | 0.5 | 0.8 | 0.7 | 0.7 | 1 | 1 | [6 empty] | 2013
2262 | GROUND WATER FROM KARIMGANJ (COLLEGE) | Assam | 16 | 16 | 16 | 6.7 | 6.7 | 6.7 | 181 | 181 | 181 | 1.2 | 1.2 | 1.2 | 4.41 | 5 | 5 | [6 empty] | 2013
2263 | GROUND WATER FROM HIALAKANDI (NEAR ASTC BUS STAND ) | Assam | 18 | 18 | 18 | 5.9 | 7.1 | 6.5 | 95 | 113 | 104 | 0.7 | 1.3 | 1 | 0.23 | 0.23 | 0.23 | [6 empty] | 2013
2264 | GROUND WATER IN PANCHGRAM MARKET NEAR CACHAR PAPER MILL | Assam | 15 | 18 | 17 | 5.9 | 7.2 | 6.6 | 206 | 472 | 339 | 0.8 | 1.3 | 1.1 | 1.25 | 1.25 | 1.25 | [6 empty] | 2013
1533 | *DIGBOI, TINSUKIA DISTT., ASSAM | Assam | 23 | 24 | 23.5 | 6.4 | 6.6 | 6.5 | 734 | 762 | 748 | 0.7 | 2 | 1.4 | 5.4 | 8.6 | 7 | 0 | 36 | 18 | 0 | 24000 | 12000 | 2014
1534 | *KARBI ANGLONG DISTT., ASSAM | Assam | 23 | 24 | 23.5 | 6.2 | 6.5 | 6.4 | 205 | 470 | 338 | 0.7 | 1.5 | 1.1 | 0.2 | 1.2 | 0.7 | 0 | 150 | 75 | 0 | 11000 | 5500 | 2014
1535 | *SIBSAGAR , ASSAM | Assam | 24 | 25 | 24.5 | 6.4 | 7.5 | 7 | 302 | 364 | 333 | 0.9 | 1.8 | 1.4 | 0.3 | 0.7 | 0.5 | 0 | 0 | 0 | 91 | 91 | 91 | 2014
1536 | *SIBSAGAR, ASSAM | Assam | 20 | 25 | 22.5 | 5.5 | 5.8 | 5.7 | 696 | 885 | 791 | 1.3 | 2.4 | 1.9 | 0.1 | 0.4 | 0.3 | 0 | 0 | 0 | 0 | 91 | 46 | 2014
1537 | *(JORHAT, ASSAM | Assam | 24 | 25 | 24.5 | 6.6 | 7.4 | 7 | 440 | 579 | 510 | 1.1 | 3.3 | 2.2 | 2.4 | 3.8 | 3.1 | 36 | 72 | 54 | 2100 | 4600 | 3350 | 2014
1538 | *SILCHAR, ASSAM | Assam | 20 | 24 | 22 | 4.7 | 5.4 | 5.1 | 100 | 149 | 125 | 0.3 | 1 | 0.7 | 2.5 | 4.8 | 3.7 | 0 | 36 | 18 | 0 | 4600 | 2300 | 2014
1539 | *BARPETA, ASSAM | Assam | 24 | 31 | 27.5 | 6.2 | 7.4 | 6.8 | 154 | 1043 | 599 | 1 | 2.9 | 2 | 0.5 | 2.5 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
1540 | *BONAIGAON, ASSAM | Assam | 23 | 32 | 27.5 | 5.3 | 6.4 | 5.9 | 146 | 746 | 446 | 0.9 | 1.3 | 1.1 | 0.1 | 0.4 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
1541 | *GUWAHATI, ASSAM | Assam | 22 | 24 | 23 | 6.3 | 6.4 | 6.4 | 734 | 1362 | 1048 | 1 | 3.8 | 2.4 | 7.4 | 12.2 | 9.8 | 0 | 240 | 120 | 230 | 24000 | 12115 | 2014
1542 | *GUWAHATI, ASSAM | Assam | 24 | 26 | 25 | 6.5 | 7.3 | 6.9 | 440 | 991 | 716 | 0.6 | 2.4 | 1.5 | 0.6 | 1.1 | 0.9 | 0 | 36 | 18 | 0 | 91 | 46 | 2014
2243 | GROUND WATER FROM LEDO, MARGHERITA | Assam | 23 | 23 | 23 | 5.7 | 5.7 | 5.7 | 436 | 745 | 591 | 0.7 | 0.9 | 0.8 | 6.7 | 9.8 | 8.3 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
2244 | GROUND WATER FROM NAZIRA | Assam | 21 | 25 | 23 | 6.3 | 6.9 | 6.6 | 520 | 604 | 562 | 0.8 | 1.4 | 1.1 | 3.3 | 3.8 | 3.6 | 0 | 9300 | 4650 | 36 | 9301 | 4669 | 2014
2245 | GROUND WATER FROM NUMALIGARH (NEAR NRL TE LABOR COLONY) | Assam | 25 | 28 | 26.5 | 5.4 | 5.9 | 5.7 | 95 | 400 | 248 | 0.9 | 1.1 | 1 | 1 | 4 | 2.5 | 30 | 430 | 230 | 431 | 1500 | 966 | 2014
2246 | GROUND WATER FROM SEMENCHAPARI | Assam | 20 | 22 | 21 | 6.2 | 6.9 | 6.6 | 470 | 617 | 544 | 0.7 | 0.9 | 0.8 | 0 | 0.2 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
2247 | GROUND WATER FROM SILAPATHAR | Assam | 20 | 22 | 21 | 6.1 | 6.2 | 6.2 | 591 | 706 | 649 | 0.2 | 0.7 | 0.5 | 0.3 | 6.3 | 3.3 | 0 | 0 | 0 | 0 | 36 | 18 | 2014
2248 | GROUND WATER FROM LAKHIMPUR TOWN | Assam | 26 | 26 | 26 | 6 | 7.1 | 6.6 | 810 | 823 | 817 | 1.2 | 3.2 | 2.2 | 1.4 | 9.8 | 5.6 | 0 | 0 | 0 | 30 | 360 | 195 | 2014
2249 | GROUND WATER FROM TEZPUR (MISSION CHARIALI) | Assam | 26 | 28 | 27 | 5.8 | 6.4 | 6.1 | 142 | 247 | 195 | 1 | 1.1 | 1.1 | 0.8 | 1.7 | 1.3 | 0 | 0 | 0 | 0 | 36 | 18 | 2014
2250 | GROUND WATER FROM NAGAON (PANIGAON) | Assam | 28 | 29 | 28.5 | 6.5 | 6.6 | 6.6 | 371 | 578 | 475 | 0.4 | 0.7 | 0.6 | 1 | 2.1 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
2251 | GROUND WATER FROM JAGIROAD NEAR HPC EFFLUENT DISCHARGE POINT | Assam | 25 | 29 | 27 | 5.7 | 7.2 | 6.5 | 995 | 1648 | 1322 | 0.5 | 4.2 | 2.4 | 5.9 | 8.6 | 7.3 | 0 | 73 | 37 | 0 | 11000 | 5500 | 2014
2252 | GROUND WATER NEAR MSW DUMPING SITE AT GARCHUK-GUWAHATI | Assam | 24 | 24 | 24 | 6.4 | 6.4 | 6.4 | 417 | 417 | 417 | 1.3 | 1.3 | 1.3 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
2253 | GROUND WATER FROM NALBARI | Assam | 25 | 26 | 25.5 | 6.6 | 7.1 | 6.9 | 456 | 745 | 601 | 1.1 | 1.1 | 1.1 | 4.4 | 6.5 | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
2254 | GROUND WATER FROM BARPETA ROAD(RLY STATION) | Assam | 25.1 | 32 | 28.6 | 6.8 | 7 | 6.9 | 870 | 1205 | 1038 | 0.1 | 0.5 | 0.3 | 0.2 | 0.2 | 0.2 | 0 | 930 | 465 | 0 | 110000 | 55000 | 2014
2255 | GROUND WATER NEAR BPRL, DHALIGAON | Assam | 26.5 | 32 | 29.3 | 6.4 | 7.4 | 6.9 | 600 | 893 | 747 | 0.6 | 1 | 0.8 | 4.9 | 7.3 | 6.1 | 0 | 0 | 0 | 0 | 4600 | 2300 | 2014
2256 | GROUND WATER FROM KOKRAJHAR DISTRICT (HS SCHOOL ) | Assam | 25 | 32 | 28.5 | 6.4 | 6.5 | 6.5 | 136 | 893 | 515 | 0.6 | 0.6 | 0.6 | 3 | 4.9 | 4 | 0 | 91 | 46 | 360 | 930 | 645 | 2014
2257 | GROUND WATER FROM DHUBRI DISTRICT (COLLEGE NAGAR ) | Assam | 24.2 | 34 | 29.1 | 7.2 | 7.2 | 7.2 | 729 | 1036 | 883 | 0.5 | 1.2 | 0.9 | 0.1 | 0.5 | 0.3 | 0 | 2300 | 1150 | 91 | 2301 | 1196 | 2014
2258 | GROUND WATER FROM GOALPARA DIST. (GOALPARA COLLEGE ) | Assam | 27 | 33 | 30 | 6.5 | 6.6 | 6.6 | 465 | 613 | 539 | 0.4 | 1.1 | 0.8 | 2.8 | 3.1 | 3 | 0 | 0 | 0 | 230 | 2300 | 1265 | 2014
2259 | GROUND WATER FROM DIPHU (GOVT. COLLEGE) | Assam | 28 | 29 | 28.5 | 7.2 | 7.5 | 7.4 | 1126 | 1904 | 1515 | 0.7 | 2.8 | 1.8 | 1.2 | 1.9 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
2261 | GROUND WATER FROM HAFLONG | Assam | 12 | 20 | 16 | 7.1 | 7.1 | 7.1 | 464 | 668 | 566 | 0.4 | 3.9 | 2.2 | 0.2 | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 150 | 75 | 2014
2262 | GROUND WATER FROM KARIMGANJ (COLLEGE) | Assam | 12 | 12 | 12 | 6.5 | 6.5 | 6.5 | 330 | 330 | 330 | 0.9 | 0.9 | 0.9 | 4.7 | 4.7 | 4.7 | 0 | 0 | 0 | 430 | 430 | 430 | 2014
2263 | GROUND WATER FROM HIALAKANDI (NEAR ASTC BUS STAND ) | Assam | 13 | 20 | 16.5 | 6.2 | 6.9 | 6.6 | 309 | 417 | 363 | 0.4 | 0.5 | 0.5 | 0.5 | 1.6 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2014
2264 | GROUND WATER IN PANCHGRAM MARKET NEAR CACHAR PAPER MILL | Assam | 14 | 21 | 17.5 | 6.4 | 6.5 | 6.5 | 134 | 1190 | 662 | 3.1 | 4.1 | 3.6 | 0.6 | 4 | 2.3 | 0 | 910 | 455 | 280 | 29000 | 14640 | 2014