## Sheet1
STATION CODE | LOCATIONS | STATE | TEMPERATURE ºC |  |  | pH |  |  | CONDUCTIVITY (µmhos/cm) |  |  | B.O.D. (mg/l) |  |  | NITRATE- N+ NITRITE-N (mg/l) |  |  | FECAL COLIFORM (MPN/100ml) |  |  | TOTAL COLIFORM (MPN/100ml)
|  |  | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Year
WATER QUALITY CRITERIA | [5 empty] | 6.5-8.5 | [5 empty] | < 3 mg/l | [5 empty] | < 2500 MPN/100ml |  |  | < 5000 MPN/100ml
1555 | AT KALA AMB, H.P | HIMACHAL PRADESH | 16 | 26 | 21 | 6.8 | 7.8 | 7.3 | 319 | 379 | 347 | 0.6 | 0.8 | 0.7 | 0.1 | 3 | 2 | 1 | 2 | 2 | 2 | 5 | 4 | 2013
1556 | AT PAONTA SAHIB, H.P | HIMACHAL PRADESH | 16 | 25 | 22 | 7.1 | 7.4 | 7.3 | 362 | 402 | 388 | 0.6 | 0.8 | 0.7 | 0.12 | 1.22 | 1 | 1 | 3 | 2 | 3 | 6 | 4 | 2013
1557 | AT PARWANOO, H.P | HIMACHAL PRADESH | 21 | 21 | 21 | 7.5 | 7.5 | 7.5 | 316 | 316 | 316 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1558 | AT BADDI, H.P | HIMACHAL PRADESH |  |  |  | 7.3 | 7.3 | 7.3 | 311 | 311 | 311 | 0.1 | 0.1 | 0.1 | 3.18 | 3.99 | 3.55 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1559 | AT BAROTIWALA, H.P | HIMACHAL PRADESH |  |  |  | 7.1 | 8 | 7.6 | 214 | 368 | 291 | 0.2 | 1 | 0.6 | 2.62 | 8 | 5 |  |  |  | 12 | 12 | 12 | 2013
1560 | AT NALAGARH, H.P | HIMACHAL PRADESH |  |  |  | 7.5 | 8.5 | 8 | 260 | 847 | 554 | 0.1 | 1 | 0.6 | 1.86 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1561 | AT DAMTAL, H.P | HIMACHAL PRADESH | 19 | 21 | 20 | 7.2 | 7.7 | 7.5 | 695 | 724 | 710 | 0.4 | 0.5 | 0.5 | 2.48 | 4 | 2.9 | [6 empty] | 2013
1562 | AT UNA, H.P | HIMACHAL PRADESH | 18 | 19 | 19 | 7.9 | 8 | 7.9 | 591 | 698 | 645 | 0.4 | 0.5 | 0.5 | 2.64 | 3.56 | 3 | [6 empty] | 2013
1588 | PUNKUNNAM TRISSUR DISTT. , KERALA | HIMACHAL PRADESH | 28 | 29 | 29 | 5.6 | 8.3 | 7.1 | 220 | 263 | 246 | 0.8 | 2.1 | 1.4 | 0 | 2 | 1 | 20 | 50 | 35 | 170 | 180 | 175 | 2013
1872 | SHIMLA D/S OF MSW DUMPING SIOT | HIMACHAL PRADESH | 4 | 17 | 11 | 6.9 | 8.1 | 7.5 | 142 | 782 | 381 | 0.2 | 54 | 10 | 8.48 | 12.44 | 10 | 12 | 1344 | 170 | 42 | 3360 | 386 | 2013
1873 | DHARAMSHALA KANGRA D/S OF MSW DUMPING SIOT | HIMACHAL PRADESH | 16 | 19 | 18 | 5.6 | 7.1 | 6.3 | 272 | 298 | 285 | 0.6 | 0.8 | 0.7 | 4.43 | 5 | 4.55 | [6 empty] | 2013
1874 | SOLAN-D/S OF MSW DUMPING SIOT- | HIMACHAL PRADESH | 16 | 22 | 19 | 7.2 | 8.3 | 7.8 | 150 | 738 | 396 | 0.1 | 2 | 1 | 9.66 | 10 | 10 | 2 | 152 | 40 | 10 | 264 | 87 | 2013
1875 | MANDI-D/S OF MSW DUMPING SIOT | HIMACHAL PRADESH | 19 | 24 | 22 | 7.5 | 7.9 | 7.7 | 283 | 615 | 449 | 3.2 | 20 | 12 | 2 | 3 | 2.5 | 49 | 130 | 90 | 170 | 920 | 545 | 2013
1876 | PARWANOO INDUSTRIAL AREA | HIMACHAL PRADESH | 22 | 22 | 22 | 7.2 | 7.2 | 7.2 | 283 | 283 | 283 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
2634 | HAND PUMP AT SHIMLA | HIMACHAL PRADESH | 13 | 13 | 13 | 7.1 | 7.1 | 7.1 | 166 | 166 | 166 | 12 | 12 | 12 | 4.97 | 5 | 5 | 2 | 2 | 2 | 8 | 8 | 8 | 2013
1877 | BADDI INDUSTRIAL AREA | HIMACHAL PRADESH |  |  |  | 7 | 8.2 | 7.6 | 235 | 339 | 287 | 0.2 | 1 | 0.6 | 5.56 | 2 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1878 | BAROTIWALA INDUSTRIAL AREA | HIMACHAL PRADESH |  |  |  | 7.1 | 8.1 | 7.6 | 241 | 367 | 304 | 0.1 | 0.8 | 0.5 | 0 | 0 | 2 | 2 | 2 | 2 | 4 | 4 | 4 | 2013
1879 | NALAGARH INDUSTRIAL AREA | HIMACHAL PRADESH |  |  |  | 7.1 | 8.7 | 7.9 | 392 | 712 | 552 | 0.1 | 2 | 1.1 | 7.89 | 3 | 8 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1880 | KALA AMB INDUSTRIAL AREA | HIMACHAL PRADESH | 16 | 28 | 21 | 6.7 | 7.2 | 7 | 327 | 438 | 393 | 0.8 | 0.8 | 0.8 | 0.16 | 0 | 2 | 1 | 2 | 2 | 3 | 4 | 4 | 2013
1881 | PAONTA SAHIB INDUSTRIAL AREA | HIMACHAL PRADESH | 16 | 25 | 21 | 6.4 | 7.8 | 7.3 | 301 | 352 | 331 | 0.8 | 0.8 | 0.8 | 0.18 | 0 | 2 | 1 | 2 | 1 | 3 | 4 | 3 | 2013
1882 | MEHATPUR INDUSTRIAL AREA | HIMACHAL PRADESH | 18 | 18 | 18 | 7.7 | 7.9 | 7.8 | 790 | 817 | 804 | 0.4 | 0.7 | 0.6 | 4.89 | 4 | 5 | [6 empty] | 2013
1883 | UNA INDUSTRIAL AREA | HIMACHAL PRADESH | 18 | 18 | 18 | 7.8 | 7.8 | 7.8 | 583 | 711 | 647 | 0.3 | 0.8 | 0.6 | 1.25 | 1 | 3 | [6 empty] | 2013
2628 | HAND PUMP AT SHAMSHI | HIMACHAL PRADESH | 15 | 17 | 16 | 6.8 | 7.8 | 7.3 | 210 | 711 | 427 | 1.6 | 2.8 | 2.1 | 1.98 | 0 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
2629 | HAND PUMP AT MANDI TOWN | HIMACHAL PRADESH | 18 | 20 | 19 | 7.5 | 8.6 | 7.9 | 372 | 511 | 464 | 2.8 | 3.2 | 3 | 0.762 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
2630 | HAND PUMP AT HAMIRPUR TOWN | HIMACHAL PRADESH | 17 | 18 | 18 | 7.1 | 7.5 | 7.3 | 769 | 1030 | 900 | 1 | 12 | 6.5 | 5.2 | 2 | 5 | [6 empty] | 2013
2631 | HAND PUMP AT NADAUN TOWN | HIMACHAL PRADESH | 17 | 18 | 18 | 6.4 | 6.9 | 6.7 | 687 | 755 | 721 | 0.4 | 12 | 6.2 | 5.1 | 4 | 5 | [6 empty] | 2013
2632 | HAND PUMP AT BILASPUR TOWN | HIMACHAL PRADESH | 18 | 20 | 19 | 7.6 | 8.6 | 8 | 430 | 809 | 655 | 2.8 | 3.2 | 3 | 6.59 | 2 | 7 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
2633 | HAND PUMP AT RECONGPEO | HIMACHAL PRADESH | 17 | 17 | 17 | 7.6 | 7.9 | 7.7 | 281 | 401 | 341 | 1.6 | 2 | 1.8 | 0.252 | 0 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
2635 | HAND PUMP AT RAMPUR | HIMACHAL PRADESH |  |  |  | 8.4 | 8.4 | 8.4 | 100 | 100 | 100 |  |  |  | 0.578 | 1 | 1 | [6 empty] | 2013
2636 | HAND PUMP AT KANGRA TEMPLE/ TOWN | HIMACHAL PRADESH | 18 | 18 | 18 | 6.9 | 7.1 | 7 | 660 | 683 | 672 | 0.5 | 6 | 3.3 | 2.4 | 0 | 2 | [6 empty] | 2013
2637 | HAND PUMP AT JWALAJI TEMPLE | HIMACHAL PRADESH | 15 | 18 | 17 | 6.8 | 7.6 | 7.2 | 1460 | 1660 | 1560 | 0.2 | 9 | 4.6 | 5.38 | 5 | 5 | [6 empty] | 2013
2638 | HAND PUMP AT CHINTPURNI TEMPLE/ TOWN | HIMACHAL PRADESH | 17 | 19 | 18 | 7.4 | 8.3 | 7.9 | 596 | 957 | 777 | 0.4 | 6 | 3.2 | 4.2 | 1 | 4 | [6 empty] | 2013
2639 | HAND PUMP AT CHAMUNDA DEVI TEMPLE/ TOWN | HIMACHAL PRADESH | 16 | 18 | 17 | 6 | 8 | 7 | 79 | 181 | 130 | 0.3 | 2 | 1.2 | 1.46 | 1 | 3 | [6 empty] | 2013
2640 | HAND PUMP AT SANSARPUR TERRACE IA | HIMACHAL PRADESH | 22 | 24 | 23 | 7.3 | 8 | 7.6 | 351 | 353 | 352 | 0.2 | 0.3 | 0.3 | 1.5 | 2 | 2 | [6 empty] | 2013
2641 | HAND PUMP AT CHAMBA TOWN | HIMACHAL PRADESH | 15 | 15 | 15 | 6.8 | 7.6 | 7.2 | 715 | 729 | 722 | 0.4 | 0.8 | 0.6 | 0 | 0 | 0 | [6 empty] | 2013
2642 | HAND PUMP AT DALHOUSIE TOWN | HIMACHAL PRADESH | 17 | 17 | 17 | 6.6 | 8.8 | 7.7 | 108 | 191 | 150 | 0.4 | 1.8 | 1.1 | 0 | 0 | 3 | [6 empty] | 2013
2644 | HAND PUMP AT PARWANOO IA | HIMACHAL PRADESH | 22 | 23 | 23 | 7.3 | 7.6 | 7.5 | 120 | 586 | 353 | 0.2 | 1 | 0.6 | 0.218 | 0 | 0 | 2 | 2 | 2 | 2 | 8 | 5 | 2013
2645 | HAND PUMP AT NAHAN | HIMACHAL PRADESH | 16 | 24 | 19 | 7 | 7.5 | 7.3 | 366 | 441 | 396 | 0.8 | 0.8 | 0.8 | 0.19 | 0 | 2 | 2 | 2 | 2 | 2 | 9 | 5 | 2013
2646 | HAND PUMP AT KALA AMB | HIMACHAL PRADESH | 15 | 24 | 20 | 6.7 | 7.9 | 7.4 | 268 | 1194 | 707 | 0.6 | 0.8 | 0.7 | 0.17 | 0 | 1 | 1 | 2 | 2 | 3 | 6 | 4 | 2013
2647 | HAND PUMP AT TAHLIWAL IA | HIMACHAL PRADESH | 17 | 18 | 18 | 7.4 | 7.5 | 7.4 | 633 | 713 | 673 | 0.9 | 4.5 | 2.7 | 0.08 | 0 | 0 | [6 empty] | 2013
1555 | AT KALA AMB, H.P | HIMACHAL PRADESH | 24 | 25 | 24.3 | 6.7 | 8.3 | 7.7 | 462 | 501 | 475 | 0.8 | 0.8 | 0.8 | 0.5 | 0.5 | 0.5 | 1 | 4 | 2 | 4 | 7 | 5 | 2014
1556 | AT PAONTA SAHIB, H.P | HIMACHAL PRADESH | 22 | 23 | 22.3 | 6.9 | 8 | 7.6 | 436 | 564 | 521 | 0.4 | 0.8 | 0.5 | 0.6 | 0.7 | 0.7 | 1 | 5 | 2 | 4 | 8 | 5 | 2014
1557 | AT PARWANOO, H.P | HIMACHAL PRADESH | 19.6 | 19.6 | 19.6 | 6.8 | 7 | 6.9 | 477 | 702 | 627 | 0.1 | 0.1 | 0.1 | 0 | 0.3 | 0.2 | [6 empty] | 2014
1558 | AT BADDI, H.P | HIMACHAL PRADESH |  |  |  | 6.8 | 7.3 | 7 | 320 | 798 | 639 | 0.1 | 0.1 | 0.1 | 0.4 | 1.9 | 1.4 | [6 empty] | 2014
1559 | AT BAROTIWALA, H.P | HIMACHAL PRADESH |  |  |  | 6.9 | 7 | 6.9 | 311 | 405 | 374 | 0.1 | 0.1 | 0.1 | 2.5 | 2.9 | 2.7 | [6 empty] | 2014
1560 | AT NALAGARH, H.P | HIMACHAL PRADESH |  |  |  | 6.9 | 7.4 | 7.2 | 476 | 881 | 746 | 0.1 | 0.1 | 0.1 | 1 | 2.4 | 1.5 | [6 empty] | 2014
1561 | AT DAMTAL, H.P | HIMACHAL PRADESH | 20 | 20 | 20 | 7.6 | 8.2 | 8 | 739 | 772 | 761 | 0.5 | 0.5 | 0.5 | 2 | 4.3 | 3.5 | [6 empty] | 2014
1562 | AT UNA, H.P | HIMACHAL PRADESH | 12 | 22 | 15.3 | 7.6 | 7.6 | 7.6 | 673 | 698 | 681 | 0.4 | 0.8 | 0.5 | 2.2 | 3.1 | 2.5 | [6 empty] | 2014
1872 | SHIMLA D/S OF MSW DUMPING SIOT | HIMACHAL PRADESH | 7 | 20 | 13 | 5.9 | 7.9 | 7 | 268 | 632 | 489 | 0.8 | 35 | 6.9 | 0 | 10.1 | 2.5 | 8 | 40 | 17 | 28 | 168 | 77 | 2014
1873 | DHARAMSHALA KANGRA D/S OF MSW DUMPING SIOT | HIMACHAL PRADESH | 16 | 16 | 16 | 6.5 | 7.7 | 7.3 | 324 | 410 | 381 | 0.2 | 0.3 | 0.2 | 3 | 4.6 | 3.5 | [6 empty] | 2014
1874 | SOLAN-D/S OF MSW DUMPING SIOT- | HIMACHAL PRADESH | 14.5 | 22 | 17.7 | 6.9 | 7.9 | 7.5 | 215 | 572 | 389 | 0.1 | 2.4 | 1.2 | 0 | 10.6 | 1.9 | 6 | 40 | 15 | 8 | 84 | 28 | 2014
1875 | MANDI-D/S OF MSW DUMPING SIOT | HIMACHAL PRADESH | 13 | 18 | 16 | 8.1 | 8.5 | 8.3 | 244 | 592 | 357 | 0.5 | 16 | 4.7 | 0.1 | 0.9 | 0.3 | 26 | 94 | 70 | 180 | 280 | 235 | 2014
1877 | BADDI INDUSTRIAL AREA | HIMACHAL PRADESH |  |  |  | 6.8 | 7 | 6.8 | 317 | 808 | 644 | 0.1 | 0.2 | 0.1 | 2.3 | 4.2 | 3.6 | [6 empty] | 2014
1878 | BAROTIWALA INDUSTRIAL AREA | HIMACHAL PRADESH |  |  |  | 7.3 | 7.4 | 7.4 | 309 | 400 | 370 | 0.1 | 0.1 | 0.1 | 3.3 | 3.3 | 3.3 | [6 empty] | 2014
1879 | NALAGARH INDUSTRIAL AREA | HIMACHAL PRADESH |  |  |  | 6.6 | 6.8 | 6.7 | 479 | 885 | 750 | 0.1 | 2 | 0.7 | 1.9 | 1.9 | 1.9 | [6 empty] | 2014
1880 | KALA AMB INDUSTRIAL AREA | HIMACHAL PRADESH | 24 | 25 | 24.3 | 7.2 | 8.2 | 7.9 | 574 | 606 | 585 | 0.7 | 8 | 3.1 | 0.6 | 0.6 | 0.6 | 1 | 3 | 2 | 5 | 5 | 5 | 2014
1881 | PAONTA SAHIB INDUSTRIAL AREA | HIMACHAL PRADESH | 23 | 24 | 23.3 | 6.9 | 7.9 | 7.5 | 365 | 537 | 480 | 0.7 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 1 | 1 | 1 | 2 | 5 | 4 | 2014
1882 | MEHATPUR INDUSTRIAL AREA | HIMACHAL PRADESH | 13 | 22 | 16 | 7.6 | 7.7 | 7.7 | 828 | 899 | 852 | 0.1 | 0.4 | 0.3 | 3.6 | 5.1 | 4.1 | [6 empty] | 2014
1883 | UNA INDUSTRIAL AREA | HIMACHAL PRADESH | 13 | 23 | 16.3 | 7.6 | 8 | 7.9 | 719 | 735 | 724 | 0.1 | 0.1 | 0.1 | 1.3 | 2.2 | 1.9 | [6 empty] | 2014
2628 | HAND PUMP AT SHAMSHI | HIMACHAL PRADESH | 13.5 | 19 | 16.6 | 7.7 | 8.6 | 8 | 132 | 740 | 447 | 0.1 | 0.1 | 0.1 | 0 | 1.2 | 0.5 | [6 empty] | 2014
2629 | HAND PUMP AT MANDI TOWN | HIMACHAL PRADESH | 18 | 20 | 19 | 7.7 | 8.9 | 8.2 | 484 | 549 | 502 | 0.1 | 0.1 | 0.1 | 0 | 0.2 | 0.1 | [6 empty] | 2014
2630 | HAND PUMP AT HAMIRPUR TOWN | HIMACHAL PRADESH | 13 | 21 | 15.7 | 7.4 | 7.9 | 7.6 | 867 | 1130 | 1042 | 0.1 | 1 | 0.7 | 0.5 | 5.1 | 3.5 | [6 empty] | 2014
2631 | HAND PUMP AT NADAUN TOWN | HIMACHAL PRADESH | 14 | 20 | 16 | 7.2 | 7.7 | 7.5 | 754 | 794 | 767 | 0.4 | 0.8 | 0.7 | 0.2 | 3.5 | 2.4 | [6 empty] | 2014
2632 | HAND PUMP AT BILASPUR TOWN | HIMACHAL PRADESH | 15 | 20 | 17.5 | 6.9 | 8.4 | 7.5 | 729 | 869 | 787 | 0.1 | 0.1 | 0.1 | 0 | 8.8 | 2.2 | [6 empty] | 2014
2633 | HAND PUMP AT RECONGPEO | HIMACHAL PRADESH |  |  |  | 6.7 | 8.2 | 7.8 | 121 | 1010 | 443 | 0.1 | 0.1 | 0.1 | 0 | 0.3 | 0.1 | [6 empty] | 2014
2634 | HAND PUMP AT SHIMLA | HIMACHAL PRADESH | 7 | 8 | 7.3 | 7.6 | 7.9 | 7.7 | 200 | 334 | 289 | 0.1 | 0.1 | 0.1 | 0.1 | 1.1 | 0.5 | [6 empty] | 2014
2635 | HAND PUMP AT RAMPUR | HIMACHAL PRADESH |  |  |  | 8.2 | 8.9 | 8.4 | 221 | 455 | 299 | 0.1 | 0.1 | 0.1 | 0.1 | 0.5 | 0.2 | [6 empty] | 2014
2636 | HAND PUMP AT KANGRA TEMPLE/ TOWN | HIMACHAL PRADESH | 17 | 19 | 18.3 | 7.4 | 7.5 | 7.5 | 368 | 586 | 441 | 0.2 | 1 | 0.7 | 0.2 | 1.1 | 0.5 | [6 empty] | 2014
2637 | HAND PUMP AT JWALAJI TEMPLE | HIMACHAL PRADESH | 15 | 20 | 18.3 | 7.4 | 7.5 | 7.4 | 1070 | 1590 | 1243 | 0.6 | 2.8 | 1.3 | 0.2 | 5.8 | 2.1 | [6 empty] | 2014
2638 | HAND PUMP AT CHINTPURNI TEMPLE/ TOWN | HIMACHAL PRADESH | 20 | 22 | 20.7 | 7.5 | 8 | 7.9 | 640 | 689 | 656 | 0.2 | 0.3 | 0.3 | 1.2 | 2.9 | 2.3 | [6 empty] | 2014
2639 | HAND PUMP AT CHAMUNDA DEVI TEMPLE/ TOWN | HIMACHAL PRADESH | 15 | 20 | 18.3 | 7.8 | 8.3 | 8 | 96 | 437 | 323 | 0.2 | 0.3 | 0.2 | 1.3 | 2 | 1.8 | [6 empty] | 2014
2640 | HAND PUMP AT SANSARPUR TERRACE IA | HIMACHAL PRADESH | 20 | 21 | 20.3 | 7.6 | 7.7 | 7.7 | 361 | 388 | 370 | 0.2 | 0.6 | 0.3 | 1.1 | 1.6 | 1.3 | [6 empty] | 2014
2641 | HAND PUMP AT CHAMBA TOWN | HIMACHAL PRADESH | 18 | 22 | 19.3 | 7.2 | 7.9 | 7.7 | 674 | 761 | 732 | 0.3 | 0.6 | 0.5 | 0.2 | 0.7 | 0.6 | [6 empty] | 2014
2642 | HAND PUMP AT DALHOUSIE TOWN | HIMACHAL PRADESH | 19 | 23 | 20.3 | 7.4 | 8 | 7.8 | 161 | 237 | 186 | 0.6 | 1.6 | 1.3 | 0.2 | 1.9 | 0.8 | [6 empty] | 2014
2643 | HAND PUMP AT SOLAN | HIMACHAL PRADESH | 20 | 20 | 20 | 7.1 | 7.4 | 7.3 | 266 | 392 | 308 | 0.1 | 0.2 | 0.1 | 0 | 0.3 | 0.2 |  |  |  | 2 | 2 | 2 | 2014
2644 | HAND PUMP AT PARWANOO IA | HIMACHAL PRADESH |  |  |  | 8.7 | 8.7 | 8.7 | 1105 | 1105 | 1105 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [6 empty] | 2014
2645 | HAND PUMP AT NAHAN | HIMACHAL PRADESH | 21 | 24.5 | 22.2 | 6.7 | 7.9 | 7.5 | 600 | 648 | 632 | 0.8 | 0.9 | 0.9 | 0.8 | 0.8 | 0.8 | 1 | 3 | 2 | 5 | 8 | 6 | 2014
2646 | HAND PUMP AT KALA AMB | HIMACHAL PRADESH | 21 | 24 | 22 | 6.9 | 8.3 | 7.8 | 436 | 1250 | 979 | 0.7 | 0.8 | 0.7 | 0.6 | 0.8 | 0.8 | 1 | 2 | 1 | 5 | 5 | 5 | 2014
2647 | HAND PUMP AT TAHLIWAL IA | HIMACHAL PRADESH | 13 | 24 | 16.7 | 7.4 | 8.2 | 7.9 | 440 | 686 | 522 | 0.3 | 0.6 | 0.5 | 0.5 | 1.2 | 1 | [6 empty] | 2014
2648 | HAND PUMP AT KEYLONG | HIMACHAL PRADESH | 14.5 | 14.5 | 14.5 | 8.1 | 8.1 | 8.1 | 281 | 281 | 281 |  |  |  | 0 | 0 | 0 | [6 empty] | 2014