## Sheet1
STATION CODE | LOCATIONS | STATE | TEMPERATURE ºC |  |  | pH |  |  | CONDUCTIVITY (µmhos/cm) |  |  | B.O.D. (mg/l) |  |  | NITRATE- N+ NITRITE-N (mg/l) |  |  | FECAL COLIFORM (MPN/100ml) |  |  | TOTAL COLIFORM (MPN/100ml)
|  |  | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Year
WATER QUALITY CRITERIA | [5 empty] | 6.5-8.5 | [5 empty] | < 3 mg/l | [5 empty] | < 2500 MPN/100ml |  |  | < 5000 MPN/100ml
1616 | OPEN WELL/TUBE WELL INDUSTRIAL AREA, GOVINDPURA, BHOPAL, M.P | Madhya Pradesh | 24 | 24 | 24 | 7.9 | 7.9 | 7.9 | 1730 | 1730 | 1730 | 6.2 | 6.2 | 6.2 | 0.1 | 0 | 0 | [6 empty] | 2013
1617 | OPEN WELL/TUBE WELL INDUSTRIAL AREA MANDIDEEP, DISTT. RAISEN, M.P | Madhya Pradesh | 27 | 27 | 27 | 6.8 | 6.8 | 6.8 | 277 | 277 | 277 | 1.7 | 1.7 | 1.7 | 12.05 | 12 | 12 |  |  |  | 22 | 22 | 22 | 2013
1618 | GROUND WATER SAMPLING AT TWO POINTS IN INDUSTRIAL AREA MALANPUR, M.P | Madhya Pradesh | 29 | 34 | 32 | 7.4 | 7.4 | 7.4 | 910 | 950 | 930 | 1.2 | 1.4 | 1.3 | 0.64 | 1 | 1 | [6 empty] | 2013
1619 | GROUND WATER SAMPLING AT TWO POINTS IN INDUSTRIAL AREA MALANPUR, M.P | Madhya Pradesh | 29 | 29 | 29 | 7.3 | 7.3 | 7.3 | 850 | 850 | 850 | 1.3 | 1.3 | 1.3 | 0.43 | 0 | 0 | [6 empty] | 2013
2143 | KATHODA, JABALPUR | Madhya Pradesh | 21 | 21 | 21 | 7.3 | 7.5 | 7.4 | 410 | 447 | 429 | 1.9 | 5 | 3.5 | 0.46 | 0 | 1 | [6 empty] | 2013
2144 | MADAI GRAM, JABALPUR | Madhya Pradesh | 19 | 19 | 19 | 7.5 | 7.5 | 7.5 | 392 | 392 | 392 | 0.9 | 0.9 | 0.9 | 0.46 | 0 | 0 | [6 empty] | 2013
2145 | MEHATWAS, NAGDA | Madhya Pradesh |  |  |  | 7.5 | 7.5 | 7.5 | 2220 | 2220 | 2220 | 2 | 2 | 2 | 4.28 | 5.08 | 4.75 | [6 empty] | 2013
2146 | BHAGATPURI VILLAGE, NAGDA | Madhya Pradesh | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 5630 | 5630 | 5630 | 1.2 | 1.2 | 1.2 | 6 | 6.32 | 6.15 | [6 empty] | 2013
2148 | DOSIGAON, RATLAM | Madhya Pradesh | 29 | 29 | 29 | 8.1 | 8.1 | 8.1 | 2220 | 2220 | 2220 | 1.8 | 1.8 | 1.8 | 2 | 2.15 | 2.06 | [6 empty] | 2013
2149 | CULVERT ON A.B. ROAD, MAKSI | Madhya Pradesh | 30 | 30 | 30 | 7.6 | 7.6 | 7.6 | 1068 | 1068 | 1068 | 1.4 | 1.4 | 1.4 | 2.64 | 3 | 3 | [6 empty] | 2013
2153 | IBRAHIMGANJ NEAR BUS STAND, BHOPAL | Madhya Pradesh | 25 | 25 | 25 | 8.1 | 8.1 | 8.1 | 1710 | 1710 | 1710 | 6.4 | 6.4 | 6.4 | 0 | 0 | 0 | [6 empty] | 2013
3327 | TUBE WELL/ HAND PUMP AT INDL AREA SEONI NEAR BARAPATTHAR | Madhya Pradesh | 23 | 23 | 23 | 7.4 | 7.4 | 7.4 | 340 | 340 | 340 | 1 | 1 | 1 | 0 | 0.22 | 0.11 | [6 empty] | 2013
3335 | TUBE WELL/ HAND PUMP AT INDUSTRIAL AREA RECHHAI, JABALPUR | Madhya Pradesh | 18 | 22 | 20 | 7.1 | 7.8 | 7.5 | 478 | 486 | 482 | 1.4 | 1.4 | 1.4 | 0 | 0.15 | 0.09 |  |  |  | 75 | 75 | 75 | 2013
3336 | TUBE WELL/ HAND PUMP AT INDUSTRIAL AREA, CHHINDWARA | Madhya Pradesh | 21 | 21 | 21 | 7.2 | 7.2 | 7.2 | 471 | 471 | 471 | 1 | 1 | 1 | 0.43 | 0.97 | 0.68 | [6 empty] | 2013
3338 | HAND PUMP NEAR PANCHAYAT BHAWAN, VILLAGE TINAWALI RAIRU | Madhya Pradesh | 29 | 29 | 29 | 7.4 | 7.4 | 7.4 | 280 | 280 | 280 | 0.9 | 0.9 | 0.9 | 0.5 | 1 | 1 | [6 empty] | 2013
1618 | GROUND WATER SAMPLING AT TWO POINTS IN INDUSTRIAL AREA MALANPUR, M.P | Madhya Pradesh | 35 | 35 | 35 | 7.1 | 7.1 | 7.1 | 1005 | 1005 | 1005 | 127.4 | 127.4 | 127.4 | 1 | 1 | 1 | [6 empty] | 2014
2145 | MEHATWAS, NAGDA | Madhya Pradesh |  |  |  | 7.5 | 7.5 | 7.5 | 1880 | 1880 | 1880 |  |  |  | 1.8 | 1.8 | 1.8 | [6 empty] | 2014
2146 | BHAGATPURI VILLAGE, NAGDA | Madhya Pradesh | 28 | 28 | 28 | 7.5 | 7.5 | 7.5 | 920 | 920 | 920 |  |  |  | 5.1 | 5.1 | 5.1 |  |  |  | 110 | 110 | 110 | 2014
2148 | DOSIGAON, RATLAM | Madhya Pradesh |  |  |  | 8.2 | 8.2 | 8.2 | 3540 | 3540 | 3540 |  |  |  | 3.1 | 3.1 | 3.1 | [6 empty] | 2014
2149 | CULVERT ON A.B. ROAD, MAKSI | Madhya Pradesh | 28 | 28 | 28 | 7.1 | 7.1 | 7.1 | 1000 | 1000 | 1000 |  |  |  | 6 | 6 | 6 |  |  |  | 40 | 40 | 40 | 2014
2150 | Trenching Ground Nr Garden Dev Guradia | Madhya Pradesh | 29 | 29 | 29 | 7.5 | 7.5 | 7.5 | 1192 | 1192 | 1192 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 |  |  |  | 25 | 25 | 25 | 2014
2151 | Trenching Ground Premises of Rishabh Masala | Madhya Pradesh | 29 | 29 | 29 | 7.3 | 7.3 | 7.3 | 3347 | 3347 | 3347 | 1.8 | 1.8 | 1.8 | 30.5 | 30.5 | 30.5 |  |  |  | 26 | 26 | 26 | 2014
2152 | Trenching Ground Premises of Lakhani Foot Wear | Madhya Pradesh | 29.2 | 29.2 | 29.2 | 7.5 | 7.5 | 7.5 | 2878 | 2878 | 2878 | 2 | 2 | 2 | 29.5 | 29.5 | 29.5 |  |  |  | 38 | 38 | 38 | 2014
3332 | TUBE WELL/ HAND PUMP AT INDUSTRIAL AREA, DEWAS | Madhya Pradesh |  |  |  | 7.6 | 7.6 | 7.6 | 1330 | 1330 | 1330 |  |  |  | 5.2 | 5.2 | 5.2 | [6 empty] | 2014
3338 | HAND PUMP NEAR PANCHAYAT BHAWAN, VILLAGE TINAWALI RAIRU | Madhya Pradesh | 29 | 29 | 29 | 7.4 | 7.4 | 7.4 | 1100 | 1100 | 1100 | 2 | 2 | 2 | 1.2 | 1.2 | 1.2 | [6 empty] | 2014
3339 | T.W./H.P near Manglia.Ind. Area | Madhya Pradesh | 29.5 | 29.5 | 29.5 | 8.5 | 8.5 | 8.5 | 1475 | 1475 | 1475 | 1 | 1 | 1 | 2.6 | 2.6 | 2.6 |  |  |  | 8 | 8 | 8 | 2014
3340 | B.W.Water at.Kalindi Vihar Trenching ground | Madhya Pradesh | 28 | 28 | 28 | 7.5 | 7.5 | 7.5 | 1660 | 1660 | 1660 | 1.1 | 1.1 | 1.1 | 7.3 | 7.3 | 7.3 |  |  |  | 94 | 94 | 94 | 2014
3341 | T.W.W. sec-III Pithampur Tube Wewll Water | Madhya Pradesh | 29 | 29 | 29 | 7 | 7 | 7 | 2271 | 2271 | 2271 | 2.2 | 2.2 | 2.2 | 2.7 | 2.7 | 2.7 |  |  |  | 210 | 210 | 210 | 2014
3342 | T.W.W.at Village Tarpura sec-III Pithampur Tube Well Water | Madhya Pradesh | 30 | 30 | 30 | 8.2 | 8.2 | 8.2 | 496 | 496 | 496 | 0.8 | 0.8 | 0.8 | 1.6 | 1.6 | 1.6 |  |  |  | 110 | 110 | 110 | 2014