## Sheet1
STATION CODE | LOCATIONS | STATE | TEMPERATURE ºC |  |  | pH |  |  | CONDUCTIVITY (µmhos/cm) |  |  | B.O.D. (mg/l) |  |  | NITRATE- N+ NITRITE-N (mg/l) |  |  | FECAL COLIFORM (MPN/100ml) |  |  | TOTAL COLIFORM (MPN/100ml)
|  |  | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Year
WATER QUALITY CRITERIA | [5 empty] | 6.5-8.5 | [5 empty] | < 3 mg/l | [5 empty] | < 2500 MPN/100ml |  |  | < 5000 MPN/100ml
1634 | DREAMLAND (SPRING) | Meghalaya | 17 | 18 | 18 | 6.6 | 6.9 | 6.8 | 195 | 220 | 208 | 2.6 | 3 | 2.8 | 8 | 8 | 8 | 21 | 23 | 22 | 39 | 43 | 41 | 2013
1635 | MAWLAI MAWPDANG (SPRING) | Meghalaya | 18 | 20 | 19 | 5.1 | 5.7 | 5.3 | 220 | 250 | 230 | 1.2 | 4.2 | 2.2 | 15.1 | 15 | 15 | 28 | 31 | 30 | 52 | 58 | 56 | 2013
1636 | NARBONG | Meghalaya | 20 | 22 | 21 | 6.5 | 6.5 | 6.5 | 200 | 240 | 220 | 1 | 1.4 | 1.2 | 6.8 | 6.8 | 6.8 | 17 | 22 | 20 | 34 | 41 | 38 | 2013
1637 | WAH-U-DKHAR | Meghalaya | 17 | 19 | 18 | 6.5 | 6.6 | 6.6 | 75 | 87 | 81 | 0.5 | 0.6 | 0.6 | 6 | 6 | 6 | 9 | 12 | 11 | 17 | 26 | 22 | 2013
1638 | UMSAHEP | Meghalaya | 15 | 20 | 18 | 6 | 6.6 | 6.3 | 120 | 131 | 126 | 0.5 | 0.6 | 0.6 | 7.2 | 7 | 7 | 8 | 11 | 10 | 13 | 17 | 15 | 2013
3385 | MAWTHADRISHAN WELL AT MARKASA, WEST KHASI HILLS | Meghalaya | 16 | 18 | 17 | 6.8 | 7 | 6.9 | 30 | 34 | 31 | 1 | 1.2 | 1.1 | 2.8 | 2.8 | 2.8 | 4 | 9 | 6 | 21 | 29 | 24 | 2013
3386 | JAKREM HOT SPRING AT JAKREM, WEST KHASI HILLS | Meghalaya | 46 | 50 | 47 | 9.5 | 9.7 | 9.6 | 330 | 342 | 338 | 1 | 1 | 1 | 0.8 | 0.8 | 0.8 | 2 | 8 | 6 | 9 | 10 | 9 | 2013
2054 | RAMHLUM (NORTHERN PART) | Mizoram | 16 | 22 | 20 | 5.3 | 8.3 | 6.6 | 11 | 435 | 164 | 1 | 2.8 | 1.3 | 0.079 | 0.079 | 0.079 | [6 empty] | 2013
2055 | MISSION VENGTHLANG (SOUTHERN PART) | Mizoram | 15 | 22 | 19 | 6.7 | 8.8 | 7.5 | 11 | 533 | 219 | 0.2 | 1.2 | 0.8 | 0.082 | 0.082 | 0.082 | [6 empty] | 2013
2054 | RAMHLUM (NORTHERN PART) | Mizoram | 13 | 23 | 19.6 | 5.3 | 8.5 | 7.1 | 56 | 505 | 238 | 0.9 | 2.3 | 1.2 | 0 | 0.3 | 0.1 | 7 | 11 | 9 | 75 | 460 | 268 | 2014
2055 | MISSION VENGTHLANG (SOUTHERN PART) | Mizoram | 14 | 24 | 19.3 | 6.1 | 8 | 7 | 70 | 743 | 406 | 0.4 | 1.2 | 1 | 0 | 0.3 | 0.1 | 16 | 93 | 55 | 150 | 1100 | 625 | 2014