## Sheet1
STATION CODE | LOCATIONS | STATE | TEMPERATURE ºC |  |  | pH |  |  | CONDUCTIVITY (µmhos/cm) |  |  | B.O.D. (mg/l) |  |  | NITRATE- N+ NITRITE-N (mg/l) |  |  | FECAL COLIFORM (MPN/100ml) |  |  | TOTAL COLIFORM (MPN/100ml)
|  |  | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Min | Max | Mean | Year
WATER QUALITY CRITERIA | [5 empty] | 6.5-8.5 | [5 empty] | < 3 mg/l | [5 empty] | < 2500 MPN/100ml |  |  | < 5000 MPN/100ml
1644 | JAGATPUR INDUSTRIAL AREA, CUTTACK ORISSA | ORISSA | 29 | 32 | 31 | 6.1 | 8.2 | 7.2 | 280 | 610 | 445 | 0.4 | 0.6 | 0.5 | 2.983 | 10 | 3 | 2 | 23 | 13 | 8 | 23 | 16 | 2013
1645 | MADHUPATNA- KALYAN NAGAR AREA, CUTTACK, ORISSA | ORISSA | 29 | 31 | 30 | 6.8 | 8.5 | 7.7 | 435 | 642 | 539 | 0.3 | 0.5 | 0.4 | 2.269 | 5 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1646 | BIDANASHI - TULASIPUR AREA, CUTTACK, ORISSA | ORISSA | 28 | 31 | 30 | 7.3 | 8.1 | 7.7 | 143 | 159 | 151 | 0.3 | 0.5 | 0.4 | 0.856 | 1 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1647 | BADAMBARI AREA, CUTTACK, ORISSA | ORISSA | 28 | 32 | 30 | 7.1 | 8.4 | 7.8 | 254 | 284 | 269 | 0.2 | 0.4 | 0.3 | 1.114 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1648 | RANIHAT- MANGALABAGH AREA, CUTTACK, ORISSA | ORISSA | 29 | 31 | 30 | 7.3 | 8.4 | 7.9 | 241 | 261 | 251 | 0.2 | 0.4 | 0.3 | 0.797 | 1 | 0 | 2 | 4 | 3 | 2 | 13 | 8 | 2013
1649 | KHANDAGIRI AREA, BHUBANESWAR, ORISSA | ORISSA | 30 | 31 | 31 | 5.3 | 6.9 | 6.1 | 260 | 377 | 319 | 0.3 | 0.3 | 0.3 | 8.585 | 9 | 9 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1650 | CAPITAL HOSPITAL AREA, BHUBANESWAR, ORISSA | ORISSA | 28 | 29 | 29 | 6.5 | 7.4 | 7 | 228 | 289 | 259 | 0.9 | 1.2 | 1.1 | 2.64 | 3 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1651 | OLD TOWN- SAMANTARAAIPUR AREA, BHUBANESWAR, ORISSA | ORISSA | 30 | 31 | 31 | 6.5 | 7.5 | 7 | 489 | 819 | 654 | 0.4 | 0.8 | 0.6 | 9.169 | 9 | 8 | 33 | 33 | 33 | 2 | 2 | 2 | 2013
1652 | KALPNA - LAXMINAGAR AREA, BHUBANESWAR, ORISSA | ORISSA | 28 | 31 | 30 | 7.1 | 7.3 | 7.2 | 227 | 232 | 230 | 0.1 | 0.2 | 0.2 | 5.508 | 6 | 5 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1653 | MANCHESWAR INDUSTRIAL AREA, BHUBANESWAR, ORISSA | ORISSA | 27 | 31 | 29 | 6.5 | 7.8 | 7.2 | 115 | 255 | 185 | 0.4 | 1.1 | 0.8 | 1.907 | 5 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2013
1654 | SECRETARIAT- GOVERNOR HOUSE- OLDBUS STAND AREA, BHUBANESWAR, ORISSA | ORISSA | 28 | 28 | 28 | 6.5 | 7.5 | 7 | 98 | 179 | 139 | 0.6 | 0.9 | 0.8 | 4.652 | 5 | 2 | 23 | 23 | 23 | 2 | 2 | 2 | 2013
1655 | NEAR SEA BEACH, PURI, ORISSA | ORISSA | 26 | 26 | 26 | 7.1 | 7.6 | 7.4 | 390 | 1056 | 723 | 0.3 | 1.2 | 0.8 | 1.45 | 11 | 1 | 2 | 240 | 121 | 8 | 14 | 11 | 2013
1656 | NEAR JAGANNATH TEMPLE, PURI, ORISSA | ORISSA | 25 | 27 | 26 | 7 | 8.4 | 7.7 | 1160 | 1450 | 1305 | 0.6 | 1.5 | 1.1 | 0.509 | 13 | 1 | 8 | 49 | 29 | 8 | 23 | 16 | 2013
1657 | HOSPITAL - BUSSTAND- MAUSHIMA TEMPLE AREA, PURI, ORISSA | ORISSA | 25 | 30 | 28 | 7.1 | 8.2 | 7.7 | 734 | 855 | 795 | 0.3 | 2.2 | 1.3 | 9.556 | 10 | 2 | 2 | 5 | 4 | 2 | 13 | 8 | 2013
1658 | NEAR RIVER KUSHABHADRA, PURI, ORISSA | ORISSA | 26 | 26 | 26 | 7.1 | 7.9 | 7.5 | 390 | 850 | 620 | 0.6 | 1.2 | 0.9 | 1.45 | 11 | 1 | 2 | 540 | 271 | 8 | 27 | 18 | 2013
1644 | JAGATPUR INDUSTRIAL AREA, CUTTACK ODISHA | Odisha | 28 | 28 | 28 | 7.1 | 7.2 | 7.2 | 515 | 842 | 679 | 0.4 | 0.4 | 0.4 | 1.2 | 5.8 | 3.5 | 4 | 4 | 4 | 23 | 23 | 23 | 2014
1645 | MADHUPATNA- KALYAN NAGAR AREA, CUTTACK, ODISHA | Odisha | 27 | 28 | 27.5 | 7 | 7.4 | 7.2 | 222 | 498 | 360 | 0.1 | 1 | 0.6 | 0.3 | 6.9 | 3.6 | 28 | 28 | 28 | 240 | 240 | 240 | 2014
1646 | BIDANASHI - TULASIPUR AREA, CUTTACK, ODISHA | Odisha | 26 | 27 | 26.5 | 7.2 | 7.6 | 7.4 | 163 | 173 | 168 | 0.1 | 0.2 | 0.2 | 0.2 | 0.7 | 0.5 |  |  |  | 2 | 2 | 2 | 2014
1647 | BADAMBARI AREA, CUTTACK, ODISHA | Odisha | 28 | 28 | 28 | 6.9 | 7.4 | 7.2 | 661 | 804 | 733 | 0.3 | 1.4 | 0.9 | 0.4 | 0.8 | 0.6 |  |  |  | 2 | 2 | 2 | 2014
1648 | RANIHAT- MANGALABAGH AREA, CUTTACK, ODISHA | Odisha | 25 | 37 | 29 | 7.3 | 8.3 | 7.7 | 132 | 851 | 336 | 0.2 | 23.3 | 6.7 | 0.6 | 10.6 | 4.7 | 92000 | 160000 | 143000 | 160000 | 600000 | 215000 | 2014
1649 | KHANDAGIRI AREA, BHUBANESWAR, ODISHA | Odisha | 26 | 33 | 29.5 | 6.1 | 6.1 | 6.1 | 143 | 290 | 217 | 0.1 | 0.5 | 0.3 | 1.3 | 9.7 | 5.5 | [6 empty] | 2014
1650 | CAPITAL HOSPITAL AREA, BHUBANESWAR, ODISHA | Odisha | 26 | 30 | 28 | 6.4 | 7.5 | 7 | 245 | 274 | 260 | 0.3 | 0.5 | 0.4 | 0.4 | 1.6 | 1 | [6 empty] | 2014
1651 | OLD TOWN- SAMANTARAAIPUR AREA, BHUBANESWAR, ODISHA | Odisha | 29 | 30 | 29.5 | 6.4 | 7.4 | 6.9 | 652 | 774 | 713 | 0.3 | 0.4 | 0.4 | 1.3 | 8.2 | 4.8 | [6 empty] | 2014
1652 | KALPNA - LAXMINAGAR AREA, BHUBANESWAR, ODISHA | Odisha | 29 | 30 | 29.5 | 6.9 | 7 | 7 | 255 | 427 | 341 | 0.3 | 0.7 | 0.5 | 1.8 | 6 | 3.9 | 23 | 23 | 23 | 49 | 49 | 49 | 2014
1653 | MANCHESWAR INDUSTRIAL AREA, BHUBANESWAR, ODISHA | Odisha | 29 | 30 | 29.5 | 6.3 | 7.7 | 7 | 107 | 235 | 171 | 0.1 | 0.2 | 0.2 | 0.7 | 2.2 | 1.4 | 8 | 8 | 8 | 23 | 23 | 23 | 2014
1654 | SECRETARIAT- GOVERNOR HOUSE- OLDBUS STAND AREA, BHUBANESWAR, ODISHA | Odisha | 29 | 30 | 29.5 | 6.4 | 7.4 | 6.9 | 149 | 182 | 166 | 0.4 | 2.1 | 1.3 | 0.6 | 0.8 | 0.7 | 33 | 33 | 33 | 79 | 79 | 79 | 2014
1655 | NEAR SEA BEACH, PURI, ODISHA | Odisha | 28 | 28 | 28 | 8 | 8.4 | 8.2 | 1176 | 1340 | 1258 | 0.1 | 0.4 | 0.3 | 2.2 | 10.4 | 6.3 | [6 empty] | 2014
1656 | NEAR JAGANNATH TEMPLE, PURI, ODISHA | Odisha | 26 | 27 | 26.5 | 7.9 | 7.9 | 7.9 | 988 | 1017 | 1003 | 0.2 | 0.3 | 0.3 | 2.9 | 11 | 6.9 | 130 | 130 | 130 | 540 | 540 | 540 | 2014
1657 | HOSPITAL - BUSSTAND- MAUSHIMA TEMPLE AREA, PURI, ODISHA | Odisha | 26 | 27 | 26.5 | 7.7 | 8.3 | 8 | 761 | 855 | 808 | 0.3 | 0.6 | 0.5 | 2.8 | 9.3 | 6 | 13 | 13 | 13 | 220 | 220 | 220 | 2014
1658 | NEAR RIVER KUSHABHADRA, PURI, ODISHA | Odisha | 27 | 28 | 27.5 | 8.2 | 8.3 | 8.3 | 320 | 403 | 362 | 0.2 | 0.5 | 0.4 | 0.3 | 3 | 1.6 | [6 empty] | 2014